ELTEI501 – Install electromechanical equipment of power plant

DATE: …/…/2025

PERIOD: ………….

TECHNICAL SECONDARY SCHOOLS (TSS)

END OF TERM I EXAMINATIONS: 2025-2026

QUESTION PAPER

SECTOR: Energy

TRADE NAME: Electrical Technology

RQF LEVEL: 5

…………/100

MODULE TITLE: – Install electromechanical equipment of power plant

MARKS:

DURATION: 3 HOURS

This Exam paper is composed of Twenty-four (24) questions distributed in Three Sections (A, B, C). Follow the instructions given below, and answer the indicated questions in each section for a total of 100marks

Section A: Between (11-17) questions, all are Compulsory.	     55 marks

Section B: Five (5) questions, choose and answer any three (3).     30 marks

Section C: Two (2) questions, choose and answer any one (1)       15 marks

Allowed Materials: Blue pen, Ruler, Calculator, Pencil, (Fitting with the exam paper)

INSTRUCTIONS TO CANDIDATES:

# SECTION A — MULTIPLE CHOICE (5 items)

Choose the correct answer.

- Which component converts mechanical energy into electrical energy in any power plant?
A. Turbin

Section A: Between (11-17) questions, all are Compulsory.	     55 marks

# MULTIPLE CHOICE (20 MARKS)

Choose the correct answer.

- Which component converts mechanical energy into electrical energy in any power plant?
A. Turbine

B. Generator
C. Condenser
D. Penstock

- A diesel power plant operates based on which principle?
A. Rankine cycle
B. Internal combustion
C. Hydraulics
D. Nuclear fission

- A Kaplan turbine is best suited for:
A. High head, low flow
B. Medium head
C. Low head, high flow
D. Very high head

- A P&ID drawing focuses on:
A. Chemical composition
B. Piping, instrumentation, and flow direction
C. Electrical wire gauges
D. Mechanical tolerances

- Which hazard involves exposure to high-pressure steam or hot fluids?
A. Mechanical hazard
B. Electrical hazard
C. Fluid hazard
D. Chemical hazard

- Which hazard control method involves replacing hazardous materials with safer ones?
A. Elimination
B. Substitution
C. Engineering controls
D. PPE

- Installing flue gas desulfurization (FGD) units is an example of:
A. Noise control
B. Emission control
C. Fire prevention
D. Flood control

- Which tool is SPECIFICALLY used to align turbine rotors during installation?
A. Multimeter
B. Turbine alignment tool
C. Hydraulic jack
D. Grinder

- Which site preparation activity involves leveling ground and preparing foundations?
A. Marking of areas
B. Grading and leveling
C. Initial cleaning
D. Documentation

- Which ventilation type uses fans, blowers, and ducts to move air?
A. Natural ventilation
B. Hybrid ventilation
C. Mechanical ventilation
D. Passive ventilation

# TRUE OR FALSE (20 MARKS)

Write TRUE or FALSE.

- Hydroelectric power plants convert the potential and kinetic energy of water into electricity.

- Diesel power plants cannot be used in remote areas without grid connection.

- Steam power plants operate using the Rankine cycle.

- Electromechanical drawings always show real-world dimensions.

- Personal Protective Equipment (PPE) is the first line of defense against hazards

- Elimination is the most effective hazard control method because it completely removes the hazard.

- Safety signage is unnecessary if workers are highly trained.

- Floodgates and water diversion channels are examples of flood control in power plants.

- Cranes and hoists are used for testing electrical equipment during installation.

- Site visits help identify risks, assess utilities, and evaluate environmental conditions.

# FILL IN THE BLANKS (15 MARKS)

Write the correct word or phrase.

- A facility designed to convert different forms of energy into electrical energy is called a ________.

- A thermal power plant uses ________ energy to generate electricity.

- The water passage that directs flow to the turbine in a hydro plant is called the ________.

- The rotating part of a generator is called the ________.

- The plant component that removes excess heat is the ________ system.

Section B: Five (5) questions, choose and answer any three (3).     30 marks

- How would you explain the main purpose and operation of a power plant to someone

who has no prior technical background?

- When reviewing electromechanical component drawings, what steps do you take to ensure correct interpretation and avoid installation errors?

- What potential hazards do you consider most critical during pre-installation activities in a power plant, and how do you plan to prevent them?

- What factors influence your decision when selecting tools, materials, and equipment for power plant installation work?

- How do you assess and prepare a site to ensure it meets all technical and safety requirements before beginning power plant installation?

Section C: Two (2) questions, choose and answer any one (1)       15 marks

1.  Clearly explain Merits and Demerits of diesel power plant

2.  Fill the name of the main components of a hydropower plant