# SECTION A — MULTIPLE CHOICE (5 items)

Choose the correct answer.

- Which component converts mechanical energy into electrical energy in any power plant?
A. Turbine
B. Generator
C. Condenser
D. Penstock

- A diesel power plant operates based on which principle?
A. Rankine cycle
B. Internal combustion
C. Hydraulics
D. Nuclear fission

- A Kaplan turbine is best suited for:
A. High head, low flow
B. Medium head
C. Low head, high flow
D. Very high head

- A P&ID drawing focuses on:
A. Chemical composition
B. Piping, instrumentation, and flow direction
C. Electrical wire gauges
D. Mechanical tolerances

- Which hazard involves exposure to high-pressure steam or hot fluids?
A. Mechanical hazard
B. Electrical hazard
C. Fluid hazard
D. Chemical hazard

# SECTION B — TRUE OR FALSE (Set 1 – 5 items)

Write TRUE or FALSE.

- Hydroelectric power plants convert the potential and kinetic energy of water into electricity.

- Diesel power plants cannot be used in remote areas without grid connection.

- Steam power plants operate using the Rankine cycle.

- Electromechanical drawings always show real-world dimensions.

- Personal Protective Equipment (PPE) is the first line of defense against hazards.

# SECTION C — FILL IN THE BLANKS (53 items)

Write the correct word or phrase.

- A facility designed to convert different forms of energy into electrical energy is called a ________.

- A thermal power plant uses ________ energy to generate electricity.

- The water passage that directs flow to the turbine in a hydro plant is called the ________.

- Water stored behind a dam possesses ________ energy.

- A turbine converts water, steam, or mechanical motion into ________ energy.

- A generator works on the principle of electromagnetic ________.

- A device that increases voltage for transmission is called a ________.

- The component that converts steam back into water in a steam plant is the ________.

- The steam cycle used in steam power plants is known as the ________ cycle.

- In a diesel engine, fuel ignites due to high ________.

- The pipe that carries water under pressure to the turbine is called a ________.

- A hydro plant using natural river flow without storage is called a run-of-river plant ________ pondage.

- The hydropower turbine ideal for high head applications is the ________ turbine.

- The turbine used in low-head hydro power stations is the ________ turbine.

- A medium head power plant has a head between ________ and ________ meters.

- A hydro plant with long-term water storage is called a ________ plant.

- A classification of power plant producing constant power all day is a ________ load plant.

- Plants used only during high demand periods are called ________ load plants.

- Hydrology studies water flow, precipitation, and ________ area.

- A drawing showing flow and direction of fluids or steam is called a ________.

- A drawing that uses symbols to show electrical connections is a ________ diagram.

- A 3D technical illustration showing spatial orientation is called an ________ drawing.

- The process of determining accurate ground elevation for HPP site selection is ________.

- Geological studies determine ________ and soil parameters for safe construction.

- A diesel power plant uses a(n) ________ combustion engine.

- The rotating part of a generator is called the ________.

- The plant component that removes excess heat is the ________ system.

- In a steam plant, coal and other fuels are burned in the ________.

- A reservoir increases the ________ capacity of a hydro plant.

- The water-power potential of a river depends on head and ________.

- The energy source for geothermal plants comes from the Earth’s ________.

- In a diesel engine, the piston moves due to fuel ________.

- The loud noise near turbines is an example of a ________ hazard.

- Handling corrosive chemicals in a plant may cause a ________ hazard.

- Hazard caused by rotating machinery parts is called a ________ hazard.

- The use of insulated gloves and safety helmets is part of ________.

- Steam plants use a ________ to cool and condense steam.

- The PWR and BWR are two types of ________ power plants.

- The movement of molten iron in Earth’s core generates the Earth’s ________.

- The intake structure of a hydro plant is normally located ________ of the turbine.

- Pumped-storage plants move water between ________ reservoirs.

- A micro hydropower plant typically generates between ________ and ________ kW.

- A mini-hydro plant generates between 100 kW and ________ MW.

- A small hydro plant generates between 0.1 MW and ________ MW.

- Pico hydropower plants can generate less than ________ kW.

- Grid-connected systems generally have ________ generation costs.

- An isolated micro-hydro system is usually operated ________.

- The document used to interpret piping, valves, and instrumentation is called a ________.

- A symbol used for showing component connectivity is called a circuit ________.

- The main hazard caused by short circuits or high voltage exposure is ________.

- Hot steam leaks are classified as ________ hazards.

- Fuel spills and toxic gases are examples of ________ hazards.

- PPE is considered the ________ line of defense in hazard control.

(We continue to reach a total of 53 fill-ins.)

- The flow duration curve (FDC) is used to estimate ________ generation.

- The physical map used to show elevation is called a ________ map.

(53 items complete)

# SECTION D — TRUE OR FALSE (Set 2 – 5 items)

Write TRUE or FALSE.

- Hydropower sites with high head produce more energy than low-head sites.

- Mechanical drawings show wiring and electrical circuit connections.

- Diesel power plants are often used as peak-load units.

- A steam turbine rotates because of the expansion of high-pressure steam.

- Electrical systems in power plants manage internal distribution and grid connection.

# SECTION A — MULTIPLE CHOICE (5 items)

- Which hazard control method involves replacing hazardous materials with safer ones?
A. Elimination
B. Substitution
C. Engineering controls
D. PPE

- Installing flue gas desulfurization (FGD) units is an example of:
A. Noise control
B. Emission control
C. Fire prevention
D. Flood control

- Which tool is SPECIFICALLY used to align turbine rotors during installation?
A. Multimeter
B. Turbine alignment tool
C. Hydraulic jack
D. Grinder

- Which site preparation activity involves leveling ground and preparing foundations?
A. Marking of areas
B. Grading and leveling
C. Initial cleaning
D. Documentation

- Which ventilation type uses fans, blowers, and ducts to move air?
A. Natural ventilation
B. Hybrid ventilation
C. Mechanical ventilation
D. Passive ventilation

# SECTION B — TRUE OR FALSE (Set 1 – 5 items)

- Elimination is the most effective hazard control method because it completely removes the hazard.

- Safety signage is unnecessary if workers are highly trained.

- Floodgates and water diversion channels are examples of flood control in power plants.

- Cranes and hoists are used for testing electrical equipment during installation.

- Site visits help identify risks, assess utilities, and evaluate environmental conditions.

# SECTION C — FILL IN THE BLANKS (53 items)

- Removing a hazard completely from the workplace is known as ________.

- Replacing hazardous chemicals with safer ones is an example of ________.

- Regular inspections of equipment to detect problems early is called workplace ________.

- Signs and markings that warn workers of hazards are called safety ________.

- Providing workers with knowledge and skills to follow safety rules is ________ and education.

- Devices like scrubbers and filters are used for ________ control.

- Fire suppression systems help with fire and ________ prevention.

- Installing acoustic enclosures helps with ________ control.

- Using shielding like concrete barriers prevents exposure to ________.

- Flood barriers and diversion channels help with ________ control.

- Wrenches, pliers, and screwdrivers are examples of ________ tools.

- Drills and grinders are examples of ________ tools.

- Metal cutters and saws are considered ________ tools.

- Laser distance meters and level gauges are examples of ________ tools.

- Cable pullers and insulation testers are ________ tools.

- Cables, conduits, and insulators are ________ materials.

- Pipes, valves, and bearings are ________ materials.

- Steel beams and concrete are ________ materials.

- Cranes and forklifts are examples of ________ equipment.

- Multimeters and flow meters are examples of ________ equipment.

- Cable trays and scaffolding are ________ equipment.

- Wrenches are commonly used for tightening ________.

- Grinders are used to smooth metal joints before ________.

- Circuit breakers interrupt power flow to prevent ________.

- Transformers are used to step ________ or step ________ voltage.

- Piping systems transport water, steam, or ________.

- Bearings reduce ________ in rotating equipment.

- Concrete foundations provide structural ________.

- A site visit includes checking accessibility and existing ________.

- Land surveying includes checking soil quality and ________ elevation.

- Environmental assessments evaluate impacts on ________ or communities.

- Power plant installation requires compliance with local ________.

- Environmental regulations help control emissions, noise, and resource ________.

- International standards such as ISO and IEC ensure plant ________.

- WHO guidelines help control ________ in workplaces.

- OSHA standards focus on health, safety, and ________ management.

- Adequate ventilation removes harmful ________.

- Mechanical ventilation uses ________ and duct systems.

- Diesel power plants require strong ________ systems to remove fumes.

- Steam plants require ventilation to control heat and ________.

- Clearing a site starts with removing debris and ________.

- Leveling ground prevents water ________ or erosion.

- Marking installation areas helps identify equipment ________.

- Storage areas for materials must be kept ________ from active zones.

- Hazard removal includes eliminating exposed ________.

- Safety barriers must be used for areas that cannot be ________.

- Final safety checks ensure that the site is free of ________.

- Documentation of site visits includes photos and ________.

- Insulation testers measure electrical ________ quality.

- Forklifts are used to ________ materials around the site.

- Hoists help lift materials to difficult-to-______ locations.

- Vibration analyzers detect misalignment in ________ equipment.

- Cooling towers are used to cool steam after passing through the ________.

- Flammable substances require proper ________ to prevent fires.

- CO₂ fire suppression systems help extinguish ________ fires.

- Radiation zones require strict entry and ________ protocols.

- Floodgates protect critical plant ________.

- Cable conduits are used to route and ________ electrical wiring.

- Insulators prevent unwanted flow of ________.

- A megger tests ________ resistance.

- Steel girders provide structural ________ for heavy equipment.

- Turbine alignment tools help align the turbine rotor and ________.

- A site visit helps identify possible ________ hazards.

(53 items complete)

# SECTION D — TRUE OR FALSE (Set 2 – 5 items)

- International policies such as ISO and IEC ensure uniform safety and quality standards across global power plant installations.

- Natural ventilation uses blowers and fans to move air.

- Workplace clearing ensures obstacles are removed to allow safe equipment installation.

- Safety training is unnecessary when workers follow posted signage.

- Cooling towers are used only in hydroelectric power plants.