ELTAI501 – ELECTRICAL AUTOMATION SYSTEM INSTALLATION

DATE: …/…/2025

PERIOD: ………….

TECHNICAL SECONDARY SCHOOLS (TSS)

END OF TERM II EXAMINATIONS: 2024-2025

QUESTION PAPER

SECTOR: Energy

TRADE NAME: Electrical Technology

RQF LEVEL: 5

…………/100

MODULE TITLE: ELECTRICAL AUTOMATION SYSTEM INSTALLATION

MARKS:

DURATION: 3 HOURS

This Exam paper is composed of Twenty-four (24) questions distributed in Three Sections (A, B, C). Follow the instructions given below, and answer the indicated questions in each section for a total of 100marks

Section A: Between (11-17) questions, all are Compulsory.	     55 marks

Section B: Five (5) questions, choose and answer any three (3).     30 marks

Section C: Two (2) questions, choose and answer any one (1)       15 marks

Allowed Materials: Blue pen, Ruler, Calculator, Pencil, (Fitting with the exam paper)

INSTRUCTIONS TO CANDIDATES:

|  | 1. Which of the following is the primary advantage of integrating a Distributed Control System (DCS) with an automation system? A) Reduced power consumption B) Centralized control with high redundancy C) Decentralized control with high system reliability D) Reduced system complexity and lower maintenance cost | (2Marks) |
| --- | --- | --- |
|  | 2. When designing the control circuit for an automation system, which of the following is the most critical factor for ensuring reliable communication between components? A) Control signal power supply consistency B) Proper configuration of communication protocols like Modbus RTU or TCP/IP C) Frequency of data polling D) The physical distance between PLC and I/O modules | (2Marks) |
|  | 3. In an automation system, which of the following best describes the function of the Human-Machine Interface (HMI)? A) To control and store process data B) To provide a real-time graphical representation for monitoring and controlling machine processes C) To monitor network communication between PLC and sensors D) To convert control signals into physical actions in actuators | (2Marks) |
|  | 4. Which of the following data security measures should be prioritized when managing sensitive data in an automation system? A) High-speed data transfer protocols B) Implementation of encryption for data in transit and at rest C) Regular software updates for devices D) Minimizing system downtime for optimal performance | (Marks) |
|  | 5. When selecting Programmable Logic Controllers (PLCs) for an automation system, which of the following characteristics should be considered to ensure compatibility with the specific application needs? A) Processing speed and memory capacity B) User interface options and aesthetics C) The brand and model of the communication cables D) Size and weight of the PLC enclosure | (2Marks) |
|  | 6. What is the primary function of the output modules in a PLC-based automation system? A) To convert digital signals into analog signals B) To send control signals to actuators and devices in the field C) To monitor the status of sensors in real-time D) To store system configuration and logic programs | (2Marks) |
|  | 7. In the context of flexible automation, which of the following is the key advantage that allows rapid adaptation to different production processes? A) High capital investment required B) Automation system is designed for a specific product C) Machines and equipment can be easily reconfigured for different tasks D) Limited human involvement in decision-making | (2Marks) |
|  | 8. Which of the following is the most suitable type of PLC for complex, multi-stage manufacturing processes that require extensive I/O configurations? A) Fixed (Compact) PLC B) Modular PLC C) Distributed PLC D) Remote PLC | (2Marks) |
|  | 9. During the data collection process in an automation system, which technique is most effective for gathering insights directly from system operators and maintenance staff? A) Surveys B) Observation C) Interviews D) Focus Groups | (2Marks) |
|  | 10. When configuring data transmission settings for a PLC in an automation system, which of the following configurations is critical for ensuring proper communication with external devices? A) Device Addressing and Mapping B) Device ID and Access Control C) User Interface Configuration D) File Format Compatibility | (2Marks) |
|  | The HMI (Human-Machine Interface) is only used for controlling an automation system and does not play a role in monitoring the system's performance. TRUE OR FALSE | (3Marks) |
|  | In a flexible automation system, the configuration of the machinery and equipment can be easily changed to produce different products with minimal downtime. TRUE OR FALSE | (3Marks) |
|  | A modular PLC system cannot be expanded or modified once it is installed, as it is designed to be a fixed configuration. TRUE OR FALSE | (3Marks) |
|  | The communication protocol Modbus RTU is typically used for communication over Ethernet, allowing multiple devices to be connected in a network. TRUE OR FALSE | (3Marks) |
|  | In an automation system, data from sensors is primarily used for input to the PLC, which then processes the data and sends output signals to actuators and other components. TRUE OR FALSE | (3Marks) |
|  | 17: Match the types of automation systems with their applications: (10marks) A – Automation System Types; B – Applications. 1. Fixed Automation; a. Used for tasks requiring frequent changes in processes or product types.. 2. Programmable Automation; b. Suitable for high-volume, repetitive tasks where the production process is standardized.. 3. Flexible Automation; c. Used for tasks that require automated changes to production based on different product designs.. 4. Integrated Automation; d. Incorporates systems like SCADA, PLCs, and HMIs to manage and optimize manufacturing processes in real-time.. 5. Supervisory Control and Data Acquisition (SCADA); e. Combines hardware and software components to monitor and control complex industrial processes.. | (10Marks) |
|  | 18: Match the PLC programming languages with their characteristics: (10marks) A – PLC Programming Languages; B – Characteristics. 1. Ladder Logic (LAD); a. Structured text-based language with high-level programming constructs like loops and conditional statements.. 2. Function Block Diagram (FBD); b. Graphical programming language that uses function blocks to represent the logic.. 3. Structured Text (ST); c. Graphical programming language resembling electrical relay logic.. 4. Sequential Function Chart (SFC); d. Ideal for processes with complex sequential operations, uses steps and transitions.. 5. Instruction List (IL); e. A low-level textual programming language similar to assembly language.. | (10Marks) |

|  | Explain the critical advantages and disadvantages of implementing an automation system in industrial applications. How can these factors influence decision-making? | (10marks) |
| --- | --- | --- |
|  | What are the key preparation steps when conducting an automation system site visit, and why is each step crucial? | (10marks) |
|  | Compare and contrast fixed, programmable, flexible, and integrated automation systems in terms of structure, functionality, and application. | (10marks) |
|  | Discuss the importance of drawing standards in automation systems and how they ensure design consistency and operational efficiency. | (10marks) |
|  | What are the essential components of a power and control circuit in an automation system, and how does each function? | (10marks) |

|  | Describe the steps involved in assembling and wiring automation system components. Why is each step critical? | (15marks) |
| --- | --- | --- |
|  | Explain the key factors when selecting and configuring a PLC for an automation project? | (15marks) |

________________END OF ASSESSMENT_______________