ELTAC401 – HEATING, VENTILATION, AND AIR CONDITIONING (HVAC) SYSTEM INSTALLATION

DATE: …/…/2025

PERIOD: ………….

TECHNICAL SECONDARY SCHOOLS (TSS)

END OF TERM I EXAMINATIONS: 2025-2026

QUESTION PAPER

TRADE NAME: ELT&ETE

RQF LEVEL: 4

…………/100

MODULE TITLE: HEATING, VENTILATION, AND AIR CONDITIONING (HVAC) SYSTEM INSTALLATION

MARKS:

DURATION: 3 HOURS

This Exam paper is composed Sections (A, B, C). Follow the instructions given below, and answer the indicated questions in each section for a total of 100marks

Section A: 26 questions, all are Compulsory.	     55 marks

Section B: Five 5 questions, choose and answer any three (3).     30 marks

Section C: Two 2 questions, choose and answer any one (1)       15 marks

Allowed Materials: Blue pen, Ruler, Calculator, Pencil, (Fitting with the exam paper)

INSTRUCTIONS TO CANDIDATES:

SECTION A

Section A: 26 questions, all are Compulsory.	     55 marks

Choose the correct answer. (20 MARKS)

- HVAC stands for:
a) Heat, Voltage, Air Control
b) Heating, Ventilation, and Air Conditioning
c) Heat Variable Air Compressor
d) Humidity, Velocity, Air Circulation

- The component responsible for mixing outdoor air and return air in an AHU is the:
a) Preheat coil
b) Mixing section
c) Cooling coil
d) Bag filter

- The primary function of a cooling coil is to:
a) Remove dust
b) Add heat to the air
c) Lower the temperature of air
d) Increase humidity

- AFUE is a measure of:
a) Air flow rate
b) Furnace efficiency
c) Humidity percentage
d) Ventilation capacity

- NFPA 70 refers to:
a) Refrigerant classification
b) Electrical safety requirements
c) Fire damper installation
d) Indoor air quality standards

- Which of the following is a combustion safety risk?
a) Low airflow
b) Gas leaks
c) Dirty filters
d) Poor insulation

- Refrigerant toxicity and flammability classification is defined by:
a) ASHRAE 62
b) ISO 817:2014
c) ASHI guidelines
d) NFPA 90A

- The heating component of HVAC typically uses:
a) Evaporator
b) Furnace or boiler
c) Reheat coil only
d) Ventilation duct

- A central HVAC system serves:
a) Only one room
b) One or more thermal zones
c) Only the ventilation system
d) Only cooling functions

- Which of the following is a type of refrigeration system?
a) Direct expansion
b) Combustion circulation
c) Heating conduction
d) Forced ventilation

Write TRUE or FALSE. (20 MARKS)

- AHU is a component of the HVAC system.

- Cooling coils increase the temperature of air before supply.

- Ventilation removes stale air and brings fresh air into a building.

- OSHA standards apply only to electrical safety.

- Combustion appliances can produce carbon monoxide.

- Absorption refrigeration uses mechanical compression.

- Refrigerants can pose toxicity and flammability hazards.

- Smoke alarms should be installed in kitchen areas for safety.

- A low gas-pressure switch ensures safe ignition of the burner.

- Central HVAC systems require multiple thermostats.

# FILL IN THE BLANKS (10 MARKS)

- The efficiency of a furnace is measured using ______.

- The coil used to warm fresh outdoor air before conditioning is the ______ coil.

- HVAC refrigerant safety classification is defined under ______ 817:2014.

- The four basic refrigeration cycle components are compressor, condenser, evaporator, and ______.

- Ventilation controls indoor air quality by removing moisture and ______.

MATCHING (5G MARKS)

Match Column A to Column B.

### Column A

A. Cooling coil
B. Bag filter
C. ASHRAE
D. Expansion valve
E. Smoke damper

### Column B

- Removes larger airborne particles

- Prevents spread of fire through ducts

- Regulates refrigerant flow

- Industry standards for HVAC

- Lowers air temperature

Section B: Five 5 questions, choose and answer any three (3).     30 marks

Provide clear, complete answers.

- Explain the role and importance of HVAC systems in indoor comfort and air quality.

- Describe the main components of an AHU and state their functions.

- Explain the working cycle of a basic HVAC cooling system.

- Discuss three types of combustion safety problems and how they affect occupants.

- State the major guidelines (ASHRAE, NFPA, ASHI) related to HVAC safety and their importance.

Section C: Two 2 questions, choose and answer any one (1)       15 marks

- Compare vapour compression and absorption refrigeration systems.

- Differentiate between central and local HVAC systems with examples.