ELTLS301 – Electrical lighting and power sockets installation

DATE: …/…/2025

PERIOD: ………….

TECHNICAL SECONDARY SCHOOLS (TSS)

END OF TERM I EXAMINATIONS: 2025-2026

QUESTION PAPER

SECTOR: Energy

TRADE NAME: Electrical Technology

RQF LEVEL: 3

…………/100

MODULE TITLE: Electrical lighting and power sockets installation

MARKS:

DURATION: 3 HOURS

This Exam paper is composed Sections (A, B, C). Follow the instructions given below, and answer the indicated questions in each section for a total of 100marks

Section A: 26 questions, all are Compulsory.	     55 marks

Section B: Five 5 questions, choose and answer any three (3).     30 marks

Section C: Two 2 questions, choose and answer any one (1)       15 marks

Allowed Materials: Blue pen, Ruler, Calculator, Pencil, (Fitting with the exam paper)

INSTRUCTIONS TO CANDIDATES:

SECTION A

MULTIPLE CHOICE/20MARKS

# SECTION A: 26 questions, all are Compulsory.	     55 marks

# MULTIPLE CHOICE (20 marks)

Choose the correct answer.

- Electrical conduit is used for:
a) Carrying water
b) Protecting and routing electrical wiring
c) Measuring voltage
d) Supporting lighting fixtures

- AC current is defined as:
a) Current flowing only in one direction
b) Current that periodically reverses direction
c) Current that flows through batteries
d) Current used only in communication systems

- A junction box is used to:
a) Control ON/OFF operations
b) House electrical connections
c) Secure cable clips
d) Measure current

- A wiring diagram shows:
a) Physical layout of installation
b) Electrical connection using symbols
c) Location of fixtures in a building
d) Specifications of materials

- The size of a conductor is expressed in:
a) Ohms
b) mm² cross-sectional area
c) Volts
d) Watts

- A PVC bendit is used to:
a) Cut conduit
b) Heat and soften PVC pipe for bending
c) Test continuity
d) Support trunking

- Non-metallic (NM) sheathed wires are used for:
a) Outdoor lighting
b) In-house wiring
c) High-voltage transmission
d) Energy meter connections only

- A ring terminal is best described as:
a) A connector shaped like a fork
b) A fully round terminal used with a screw
c) A connector used for coax cables
d) A switch terminal

- Surface-mounted installation is:
a) Installed inside the wall
b) Installed outside the wall
c) Installed underground
d) Installed on a metallic roof

- A pipe bender is used for:
a) Stripping wires
b) Twisting cables
c) Bending conduit to shape
d) Hammering fittings

TRUE OR FALSE (20 marks)

- DC current flows only in one direction. ______

- Cleaning means removing unwanted materials. ______

- A switch box houses electrical connections. ______

- Trunking is always circular in shape. ______

- Built installation is performed inside walls. ______

- A coaxial cable is used for high-frequency signal transmission. ______

- A coupling is used to join two conduits. ______

- Pipe curves are always 90°. ______

- Wire strippers are used for removing insulation from conductors. ______

- A socket outlet must be installed at least 450 mm above the floor. ______

FILL IN THE BLANKS (5 marks)

- The ______ value is the maximum value of an alternating quantity.

- A ______ is a tool used for measuring distances when installing conduits.

- The document used in tendering that itemizes materials and costs is called a ______.

- A ______ is a type of terminal shaped like a fork.

- The process of changing conduit direction without accessories is called conduit ______.

# MATCHING (10 marks)

Match column A with column B.

### Column A

A. Electrical switch
B. Elbow 90°
C. Insulated conductor
D. Architectural diagram
E. Side cutter pliers

### Column B

- Used to cut and form loops on large conductors

- Shows the location of each component in a building

- Used to change conduit direction at a right angle

- Interrupts or changes current flow

- Wire covered with insulation

SECTION B: Five 5 questions, choose and answer any three (3).     30 marks

- Explain the parameters to consider when locating a power source in an installation site.

- Describe the difference between built installation and surface-mounted installation.

- List and explain three types of electrical diagrams.

- Explain the procedure for chiselling during conduit placement.

- Differentiate between PVC pipe and trunking.

SECTION C: Two 2 questions, choose and answer any one (1)       15 marks

- Describe the steps involved in measuring and cutting conduits.

- Explain the difference between ring terminal, spade terminal, and bullet terminal.