# SECTION A — MULTIPLE CHOICE QUESTIONS (10 × 2 = 20 marks)

Choose the correct answer.

- HVAC stands for:
a) Heat, Voltage, Air Control
b) Heating, Ventilation, and Air Conditioning
c) Heat Variable Air Compressor
d) Humidity, Velocity, Air Circulation

- The component responsible for mixing outdoor air and return air in an AHU is the:
a) Preheat coil
b) Mixing section
c) Cooling coil
d) Bag filter

- The primary function of a cooling coil is to:
a) Remove dust
b) Add heat to the air
c) Lower the temperature of air
d) Increase humidity

- AFUE is a measure of:
a) Air flow rate
b) Furnace efficiency
c) Humidity percentage
d) Ventilation capacity

- NFPA 70 refers to:
a) Refrigerant classification
b) Electrical safety requirements
c) Fire damper installation
d) Indoor air quality standards

- Which of the following is a combustion safety risk?
a) Low airflow
b) Gas leaks
c) Dirty filters
d) Poor insulation

- Refrigerant toxicity and flammability classification is defined by:
a) ASHRAE 62
b) ISO 817:2014
c) ASHI guidelines
d) NFPA 90A

- The heating component of HVAC typically uses:
a) Evaporator
b) Furnace or boiler
c) Reheat coil only
d) Ventilation duct

- A central HVAC system serves:
a) Only one room
b) One or more thermal zones
c) Only the ventilation system
d) Only cooling functions

- Which of the following is a type of refrigeration system?
a) Direct expansion
b) Combustion circulation
c) Heating conduction
d) Forced ventilation

# SECTION B — TRUE / FALSE (10 × 1 = 10 marks)

Write TRUE or FALSE.

- AHU is a component of the HVAC system.

- Cooling coils increase the temperature of air before supply.

- Ventilation removes stale air and brings fresh air into a building.

- OSHA standards apply only to electrical safety.

- Combustion appliances can produce carbon monoxide.

- Absorption refrigeration uses mechanical compression.

- Refrigerants can pose toxicity and flammability hazards.

- Smoke alarms should be installed in kitchen areas for safety.

- A low gas-pressure switch ensures safe ignition of the burner.

- Central HVAC systems require multiple thermostats.

# SECTION C — FILL IN THE BLANKS (5 × 2 = 10 marks)

- The efficiency of a furnace is measured using ______.

- The coil used to warm fresh outdoor air before conditioning is the ______ coil.

- HVAC refrigerant safety classification is defined under ______ 817:2014.

- The four basic refrigeration cycle components are compressor, condenser, evaporator, and ______.

- Ventilation controls indoor air quality by removing moisture and ______.

# SECTION D — MATCHING (5 × 2 = 10 marks)

Match Column A to Column B.

### Column A

A. Cooling coil
B. Bag filter
C. ASHRAE
D. Expansion valve
E. Smoke damper

### Column B

- Removes larger airborne particles

- Prevents spread of fire through ducts

- Regulates refrigerant flow

- Industry standards for HVAC

- Lowers air temperature

Write answers like: 26. A–5

- A – ___

- B – ___

- C – ___

- D – ___

- E – ___

# SECTION E — OPEN-ENDED QUESTIONS (10 × 4 = 40 marks)

Provide clear, complete answers.

- Explain the role and importance of HVAC systems in indoor comfort and air quality.

- Describe the main components of an AHU and state their functions.

- Explain the working cycle of a basic HVAC cooling system.

- Discuss three types of combustion safety problems and how they affect occupants.

- State the major guidelines (ASHRAE, NFPA, ASHI) related to HVAC safety and their importance.

- Describe electrical safety precautions necessary when installing HVAC systems.

- Compare vapour compression and absorption refrigeration systems.

- Explain the purpose of smoke alarms and outline the correct installation requirements.

- List and explain the four basic elements of a refrigeration system.

- Differentiate between central and local HVAC systems with examples.

# ✅ ANSWER KEY

## Multiple Choice Answers

1-b
2-b
3-c
4-b
5-b
6-b
7-b
8-b
9-b
10-a

## True / False Answers

11-True
12-False
13-True
14-False
15-True
16-False (uses absorption, not compression)
17-True
18-False
19-True
20-True

## Fill in the Blanks

- AFUE

- Preheat

- ISO

- Expansion device / expansion valve

- Odours

## Matching

- A-5

- B-1

- C-4

- D-3

- E-2

# SECTION A — MULTIPLE CHOICE QUESTIONS (10 × 2 = 20 marks)

Choose the correct answer.

- HVAC stands for:
a) Heat, Voltage, Air Control
b) Heating, Ventilation, and Air Conditioning
c) Heat Variable Air Compressor
d) Humidity, Velocity, Air Circulation

- The component responsible for mixing outdoor air and return air in an AHU is the:
a) Preheat coil
b) Mixing section
c) Cooling coil
d) Bag filter

- The primary function of a cooling coil is to:
a) Remove dust
b) Add heat to the air
c) Lower the temperature of air
d) Increase humidity

- AFUE is a measure of:
a) Air flow rate
b) Furnace efficiency
c) Humidity percentage
d) Ventilation capacity

- NFPA 70 refers to:
a) Refrigerant classification
b) Electrical safety requirements
c) Fire damper installation
d) Indoor air quality standards

- Which of the following is a combustion safety risk?
a) Low airflow
b) Gas leaks
c) Dirty filters
d) Poor insulation

- Refrigerant toxicity and flammability classification is defined by:
a) ASHRAE 62
b) ISO 817:2014
c) ASHI guidelines
d) NFPA 90A

- The heating component of HVAC typically uses:
a) Evaporator
b) Furnace or boiler
c) Reheat coil only
d) Ventilation duct

- A central HVAC system serves:
a) Only one room
b) One or more thermal zones
c) Only the ventilation system
d) Only cooling functions

- Which of the following is a type of refrigeration system?
a) Direct expansion
b) Combustion circulation
c) Heating conduction
d) Forced ventilation

# SECTION B — TRUE / FALSE (10 × 1 = 10 marks)

Write TRUE or FALSE.

- AHU is a component of the HVAC system.

- Cooling coils increase the temperature of air before supply.

- Ventilation removes stale air and brings fresh air into a building.

- OSHA standards apply only to electrical safety.

- Combustion appliances can produce carbon monoxide.

- Absorption refrigeration uses mechanical compression.

- Refrigerants can pose toxicity and flammability hazards.

- Smoke alarms should be installed in kitchen areas for safety.

- A low gas-pressure switch ensures safe ignition of the burner.

- Central HVAC systems require multiple thermostats.

# SECTION C — FILL IN THE BLANKS (5 × 2 = 10 marks)

- The efficiency of a furnace is measured using ______.

- The coil used to warm fresh outdoor air before conditioning is the ______ coil.

- HVAC refrigerant safety classification is defined under ______ 817:2014.

- The four basic refrigeration cycle components are compressor, condenser, evaporator, and ______.

- Ventilation controls indoor air quality by removing moisture and ______.

# SECTION D — MATCHING (5 × 2 = 10 marks)

Match Column A to Column B.

### Column A

A. Cooling coil
B. Bag filter
C. ASHRAE
D. Expansion valve
E. Smoke damper

### Column B

- Removes larger airborne particles

- Prevents spread of fire through ducts

- Regulates refrigerant flow

- Industry standards for HVAC

- Lowers air temperature

Write answers like: 26. A–5

- A – ___

- B – ___

- C – ___

- D – ___

- E – ___

# SECTION E — OPEN-ENDED QUESTIONS (10 × 4 = 40 marks)

Provide clear, complete answers.

- Explain the role and importance of HVAC systems in indoor comfort and air quality.

- Describe the main components of an AHU and state their functions.

- Explain the working cycle of a basic HVAC cooling system.

- Discuss three types of combustion safety problems and how they affect occupants.

- State the major guidelines (ASHRAE, NFPA, ASHI) related to HVAC safety and their importance.

- Describe electrical safety precautions necessary when installing HVAC systems.

- Compare vapour compression and absorption refrigeration systems.

- Explain the purpose of smoke alarms and outline the correct installation requirements.

- List and explain the four basic elements of a refrigeration system.

- Differentiate between central and local HVAC systems with examples.

# ✅ ANSWER KEY

## Multiple Choice Answers

1-b
2-b
3-c
4-b
5-b
6-b
7-b
8-b
9-b
10-a

## True / False Answers

11-True
12-False
13-True
14-False
15-True
16-False (uses absorption, not compression)
17-True
18-False
19-True
20-True

## Fill in the Blanks

- AFUE

- Preheat

- ISO

- Expansion device / expansion valve

- Odours

## Matching

- A-5

- B-1

- C-4

- D-3

- E-2

# ECTION E — OPEN-ENDED QUESTIONS (10 × 4 = 40 marks)

31. Explain the role and importance of HVAC systems in indoor comfort and air quality.
Answer:
HVAC systems maintain indoor comfort by controlling temperature, humidity, and air quality. Heating components (furnaces, boilers) keep spaces warm; cooling components (air conditioners) remove heat; ventilation provides fresh air and removes pollutants. Proper HVAC systems improve health, comfort, and productivity, and help maintain energy efficiency.

32. Describe the main components of an AHU and state their functions.
Answer:

- Returning Air: Recirculates air from the building to AHU.

- Outdoor Air Intake: Brings in fresh air.

- Mixing Section: Combines return and fresh air.

- Filter / Bag Filter: Removes dust, pollen, and particles.

- Preheat Coil: Warms incoming air.

- Cooling Coil: Lowers air temperature.

- Reheat Coil: Adds heat if necessary.

- Fan: Circulates conditioned air.

- Supply Air: Delivers air to the space.

- Housing: Contains all components and prevents condensation.

33. Explain the working cycle of a basic HVAC cooling system.
Answer:

- Warm air is drawn from the space through a filter into the compressor.

- The compressor compresses the refrigerant gas, increasing pressure and temperature.

- The gas passes through the condenser, releasing heat to the outside and becoming liquid.

- The expansion valve reduces pressure, cooling the liquid refrigerant.

- The evaporator coil absorbs heat from indoor air, cooling it, and the cycle repeats.

34. Discuss three types of combustion safety problems and how they affect occupants.
Answer:

- Fuel Problems: Gas leaks, oil spills, or coal dust can cause fires or explosions.

- Combustion Problems: Poorly contained flames from appliances (fireplaces, cooktops) can ignite nearby materials.

- Venting Problems: Improper venting allows carbon monoxide and water vapor to enter living spaces, posing poisoning or moisture risks.

35. State the major guidelines (ASHRAE, NFPA, ASHI) related to HVAC safety and their importance.
Answer:

- ASHRAE: Sets HVAC design, operation, and maintenance standards for energy efficiency and safety.

- NFPA: Provides standards like NFPA 70 (electrical safety) and NFPA 90A (ventilation/fire safety).

- ASHI: Provides inspection guidelines to ensure residential HVAC systems meet safety and performance standards.
Importance: Compliance reduces risk of fire, electrical hazards, poor air quality, and occupant health issues.

36. Describe electrical safety precautions necessary when installing HVAC systems.
Answer:

- Install and maintain components by licensed professionals.

- Regularly inspect electrical connections for wear or damage.

- Use circuit breakers, fuses, and GFCIs.

- Properly label circuits for maintenance and troubleshooting.

- Ensure equipment is powered off during installation or repair.

37. Compare vapour compression and absorption refrigeration systems.
Answer:

| Feature | Vapour Compression | Vapour Absorption |
| --- | --- | --- |
| Main Parts | Compressor, condenser, expansion valve, evaporator | Generator, rectifier, condenser, absorber, evaporator |
| Operation Noise | Noisy | Quiet |
| Moving Parts | Many, possible wear | Few/no moving parts |
| Energy Source | Mechanical (electric motor, diesel) | Heat energy (gas, kerosene, waste heat) |
| Efficiency | Higher | Lower |
| Charging Refrigerant | Simple | Difficult |

38. Explain the purpose of smoke alarms and outline the correct installation requirements.
Answer:
Purpose: Warn occupants of fire early for safe evacuation.
Installation Requirements:

- At least one alarm in every bedroom and floor.

- Interconnected alarms so all sound if one is triggered.

- Ceiling-mounted when possible; wall-mounted 4–12 inches from ceiling.

- Avoid corners, kitchens, bathrooms, and near HVAC vents.

- Use electrically powered alarms with battery backup if possible.

39. List and explain the four basic elements of a refrigeration system.
Answer:

- Compressor: Increases refrigerant pressure and temperature.

- Condenser: Releases heat from refrigerant, converting it to liquid.

- Expansion Valve: Reduces refrigerant pressure and temperature.

- Evaporator: Absorbs heat from indoor air, cooling it.

40. Differentiate between central and local HVAC systems with examples.
Answer:

- Central HVAC: Serves multiple zones, equipment located centrally. Uses air or water for heat transfer. Example: central air conditioning in office buildings.

- Local HVAC: Serves a single zone, equipment located within that zone. Controlled by one thermostat. Example: window AC in a bedroom or electric heater in a living room.